## Sheet1
GEORGE DAVIS CREEK
RFP Questions
# | Consultant Question | City Response
1 | [The RFP] asks to include 3 projects that the project team has worked on together. Is this meant to include all team members in all three projects? As I read it I think that it clearly does. As this is a requirement if I am reading this correctly then if it is not met then this will entail a point loss or outright disqualification. Please confirm that I am reading this correctly. | The intent behind the statement is to ensure that the proposed project team members have worked together; it doesn’t have to be ALL team members working together on three previous projects. One project may have had the prime consultant and geotech working together. Another project may have the prime consultant and the outreach consultant working together.
2 | What did Sammamish City Council agree to for traffic control on the Zackuse Creek Fish Passage Culvert Replacement Project? | The City Council authorized a full-closure of East Lake Sammamish Parkway, up to two weeks, to allow for construction of the fish-passage culvert under the Parkway.
3 | Is the concrete weir upstream of the Parkway part of this project? | Yes. This project hould investigate removal of the concrete weir if it's necessary to restore fish passage to the rest of the Creek.
4 | What is the 100-year flow rate of George Davis Creek at the Parkway? | Current flows not known. There may be some values published in the City's Inglewood Subbasin Plan
5 | Has King County measured the bankfull width for George Davis Creek as part of their Regional Trail project? | It's unknown what, precisely, King county assumed for their bankfull width for George Davis. We know for the Zackuse Creek Culvert Replacement, they estimated the bankfull width to be 8 ft. The City estimated the width to be 16 ft.
6 | How often is the high flow bypass system used? | Unknown the exact frequency. What IS known is that when the in-line sedimentation pond fills with sediment, the creek water cannot reach the normal overflow, and all water is routed through the high flow bypass. Frequent maintenance by the City is necessary to ensure the pond remains unclogged.
7 | Does this project have support from the property owners? | From the property owners that have the creek mouth on their property, there is support to do something to help the fish. We will get more information on their preferences as we continue with them in project development. Investigating an alternative outfall, with the result of the creek no longer being on their property, would likely be undesireable. The neighbor immediately north would likely support the project provided it did not unduly impact him, and all retrofit was at the City's expense. The property owner who has the property with the high flow bypass' outfall would likely be grateful for removing the bypass system.
8 | Does WDFW know about this project? | Yes. They and the tribes and Trout Unlimited know of this project, through their connection with the Kokanee Work Group, and support it. Permitting will still be challenging through.
9 | Do the low flow area and mouth of the creek experience flooding? | They used to, prior to installation of the high flow bypass. No flooding here anymore, to the City's knowledge.
10